## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-13 |  | 0.43 | 0.26783 | -0.0001164 | 0.0022482 | -0.0051095 | 6 | 36 | 96.8
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 1 | 0 | 0
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 9.9798 88.7742 373.458 604.839 838.545 1049.16 1238.82 1421.25 | -0.0182238 101.978 404.227 600.718 801.26 1000.46 1201.87 1400.6 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | UserDefCon | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | HeadLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | species | replicate | machine | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_green | f_blue | f_white | Tled | Pc | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | gsw:MN | gsw:SLP | gsw:SD | gsw:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_des | AccH2O_hum | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  |  |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | °C |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  |  | min⁻¹ |  |  |  | min⁻¹ |  |  | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ min⁻¹ | mol m⁻² s⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | [18 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1691154915 | 0 | 20230804 08:15:15 | 08:15:15 | none | C3 plant | 1 | mickey | 1691154915 | 0.0034502 | 3.4502 | 32.0187 | 417.363 | 286.7663 | 28.4141 | 41.3542 | 0.45174 | 1.9464 | 0.40058 | 0.25447 | 276.113 | 27.8264 | 28.0061 | 3.7962 | 84.1996 | 2.9719 | 3.5296 | 0.82428 | -152.1551 | -130.4668 | -14.5213 | -21.0303 | 0 | 0 | 1 | 0 | 52456.9116 | 1799.99 | 1499.1032 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691154915 | 417.363 | 714.967 | 29.9937 | 0.22549 | 417.948 | 29.8507 | 400.127 | 98.9844 | 0.10002 | 26.7628 | 28.0061 | 27.6766 | 0 | 0 | 10015 | 1087.92 | 1.1774 | -298.089 | 429.768 | 715.128 | 29.7682 | 714.967 | 0.22549 | 2.9689 | 0.02232 | 23.8546 | -38.3629 | 1799.99 | 0.91 | 0.033992 | 0.021995 | 0.034012 | 25 | 33528.4 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.7203 | 0.010357 | 0.0082929 | 1 | -298.1935 | -0.41967 | 0.059511 | -1 | 29.755 | 0.080872 | 0.007835 | -1 | 0.46718 | 0.0060804 | 0.00094104 | 1 | 2 | 2 | 2/2 | 2.6698 | 2.7153 | 0.092591 | 0.13535 | 0.13322 | 0.0018918 | 33090 | 27783.4 | 31129.5 | 27998.1 | 36607.7 | 39709.6 | 44290.8 | 42398.2 | 1.6924 | 1.8984 | 0.18146 | 0.15884 | 25.0362 | 25.0763 | 23.6 | 25.4 | 7.7637 | 61.675 | 42.0833 | 1 | -0.13345 | -0.81429 | 20.1877 | 5.2411 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8687 | 1.8645 | 1.8691 | 1.8671 | 1.8633 | 1.8643 | 1.8701 | 1.8693 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.585 | 0.143 | -0.7892 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 22.7 | 22.7 | 1.6162 | 2.5623 | 1.5491 | 2.3462 | 1.5015 | 2.2888 | 30.7604 | 23.9824 | 19 | 383.666 | 473.092 | 26.292 | 25.7448 | 30 | 25.849 | 25.8251 | 32.3192 | 100 | 0 | 26.2796 | 715 | 0 | 99.5886 | 99.2188
2 | 1691155095 | 180 | 20230804 08:18:15 | 08:18:15 | none | C3 plant | 1 | mickey | 1691155095 | 0.0030434 | 3.0434 | 31.9189 | 420.552 | 276.997 | 27.4456 | 41.6694 | 0.40368 | 1.9414 | 0.36219 | 0.22974 | 276.1161 | 27.8839 | 28.0105 | 3.7972 | 85.2985 | 2.9931 | 3.509 | 0.80405 | -134.2155 | -141.0028 | -15.7274 | -14.8296 | 0 | 0 | 1 | 0 | 52215.6786 | 1800 | 1499.1119 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155095 | 420.552 | 715.813 | 30.2083 | 3.9585 | 420.929 | 30.0653 | 400.17 | 98.9825 | 0.10007 | 26.6633 | 28.0105 | 27.6889 | 0 | 0 | 9963.75 | 1085.8 | 1.1522 | -295.261 | 433.652 | 718.658 | 26.2498 | 715.813 | 3.9585 | 2.9901 | 0.39182 | 23.9728 | -6.0222 | 1800 | 0.90999 | 0.034003 | 0.022004 | 0.034002 | 25 | 33528.2 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.6102 | -0.25782 | 0.039476 | 1 | -294.8289 | -2.5066 | 0.2582 | -1 | 24.5032 | 10.4047 | 1.001 | -1 | 0.34945 | 0.22566 | 0.033117 | 0 | 1 | 2 | 1/2 | 2.6698 | 2.7153 | 0.093087 | 0.13552 | 0.13387 | 0.027879 | 33074 | 27781.1 | 31131.5 | 28001.1 | 36583 | 38678.8 | 44294.2 | 42405 | 1.6898 | 1.9027 | 0.18006 | 0.15957 | 25.0636 | 25.0767 | 37.8 | 25.6 | 12.5827 | 61.945 | 41.4223 | 1 | -0.13226 | -0.28681 | 20.1903 | 5.242 | 12.0399 | 5.0174 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8687 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8693 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.377 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 2.3 | 25.7 | 1.6186 | 2.5586 | 1.5491 | 2.3401 | 1.5015 | 2.3584 | 30.9335 | 23.9824 | 19 | 382.417 | 476.1 | 25.723 | 25.7621 | 30.0001 | 25.8685 | 25.8273 | 32.3536 | 75.651 | 44.2623 | 25.6991 | 715 | 2.965 | 99.5957 | 99.2326
3 | 1691155275 | 360 | 20230804 08:21:15 | 08:21:15 | none | C3 plant | 1 | mickey | 1691155275 | 0.003456 | 3.456 | 31.8556 | 418.796 | 291.8317 | 28.9138 | 41.4931 | 0.46392 | 1.9412 | 0.41001 | 0.26057 | 276.1159 | 27.778 | 27.9718 | 3.7886 | 84.729 | 2.982 | 3.5195 | 0.8066 | -152.4106 | -131.6443 | -14.6858 | -22.6247 | 0 | 0 | 1 | 0 | 52197.6749 | 1800 | 1499.1124 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155275 | 418.796 | 715.039 | 30.0978 | 0.28043 | 419.17 | 29.9548 | 400.095 | 98.977 | 0.10007 | 26.7139 | 27.9718 | 27.6933 | 0 | 0 | 9962.5 | 1084.83 | 1.1774 | -296.244 | 431.792 | 715.24 | 29.8173 | 715.039 | 0.28043 | 2.979 | 0.027756 | 23.9109 | -36.2189 | 1800 | 0.90999 | 0.034001 | 0.022003 | 0.034001 | 25 | 33528.4 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.4836 | 0.015321 | 0.0085626 | 1 | -296.1506 | -0.4361 | 0.059811 | -1 | 29.8142 | -0.0063974 | 0.0019346 | -1 | 0.48623 | -0.011937 | 0.0017917 | 1 | 2 | 2 | 2/2 | 2.6696 | 2.7153 | 0.092786 | 0.13534 | 0.13353 | 0.0023446 | 33085.8 | 27789.7 | 31132.3 | 28004.4 | 36599 | 39702.4 | 44295.8 | 42409.9 | 1.6935 | 1.8955 | 0.18103 | 0.16192 | 25.0088 | 25.0424 | 32.5 | 25.8 | 10.9491 | 61.8849 | 41.4543 | 1 | -0.13153 | -0.92252 | 20.1872 | 5.2421 | 12.0399 | 5.0174 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8671 | 1.8633 | 1.8643 | 1.8701 | 1.8693 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.374 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 5.3 | 28.7 | 1.6162 | 2.5562 | 1.5491 | 2.3438 | 1.5015 | 2.3572 | 31.0853 | 23.9824 | 19 | 384.395 | 471.197 | 26.3442 | 25.7643 | 30.0001 | 25.8664 | 25.8424 | 32.3169 | 100 | 31.8481 | 26.357 | 715 | 0 | 99.599 | 99.244
4 | 1691155455 | 540 | 20230804 08:24:15 | 08:24:15 | none | C3 plant | 1 | mickey | 1691155455 | 0.0034532 | 3.4532 | 31.7638 | 419.493 | 291.1437 | 28.8438 | 41.5594 | 0.45689 | 1.9431 | 0.40454 | 0.25704 | 276.1144 | 27.7909 | 27.9888 | 3.7924 | 84.4825 | 2.9756 | 3.5221 | 0.8168 | -152.2874 | -132.2134 | -14.737 | -23.1235 | 0 | 0 | 1 | 0 | 52292.6307 | 1799.99 | 1499.1036 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155455 | 419.493 | 714.926 | 30.0348 | 0.24003 | 419.868 | 29.8918 | 400.101 | 98.9706 | 0.09998 | 26.7267 | 27.9888 | 27.691 | 0 | 0 | 9982.5 | 1085.66 | 1.2334 | -295.433 | 432.483 | 715.098 | 29.7948 | 714.926 | 0.24003 | 2.9726 | 0.023756 | 23.875 | -37.7541 | 1799.99 | 0.90999 | 0.034001 | 0.022004 | 0.034001 | 25 | 33528.2 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.424 | -0.019415 | 0.010018 | 1 | -295.5995 | 0.38331 | 0.081636 | -1 | 29.7874 | 0.040951 | 0.0040971 | -1 | 0.47496 | 0.0080525 | 0.0012415 | 1 | 2 | 2 | 2/2 | 2.6696 | 2.7152 | 0.092896 | 0.13532 | 0.13332 | 0.0020116 | 33083.9 | 27793.7 | 31134.3 | 28007.6 | 36610.4 | 39721.1 | 44299.1 | 42415.7 | 1.6936 | 1.8943 | 0.18322 | 0.16152 | 24.9898 | 25.0467 | 27 | 26 | 9.2044 | 61.4949 | 41.6066 | 1 | -0.1315 | -0.90581 | 20.1871 | 5.2408 | 12.0399 | 5.0166 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.375 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 8.3 | 31.7 | 1.6174 | 2.5574 | 1.5491 | 2.3425 | 1.5015 | 2.3572 | 31.1939 | 23.9824 | 19 | 384.476 | 470.44 | 26.3096 | 25.7686 | 30.0001 | 25.8685 | 25.8488 | 32.3364 | 100 | 22.307 | 26.3283 | 715 | 0 | 99.6061 | 99.2568
5 | 1691155635 | 720 | 20230804 08:27:15 | 08:27:15 | none | C3 plant | 1 | mickey | 1691155635 | 0.0034693 | 3.4693 | 31.6992 | 420.102 | 293.7559 | 29.1012 | 41.6178 | 0.46409 | 1.9438 | 0.4102 | 0.26069 | 276.114 | 27.812 | 28.0055 | 3.7961 | 84.6663 | 2.9869 | 3.5278 | 0.80917 | -152.9945 | -131.1181 | -14.6129 | -22.6116 | 0 | 0 | 1 | 0 | 52323.0223 | 1799.99 | 1499.1049 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155635 | 420.102 | 715.042 | 30.1505 | 0.22066 | 420.478 | 30.0075 | 400.097 | 98.9659 | 0.10007 | 26.7543 | 28.0055 | 27.7359 | 0 | 0 | 9990 | 1085.68 | 0.99798 | -294.94 | 433.162 | 715.2 | 29.9299 | 715.042 | 0.22066 | 2.9839 | 0.021838 | 23.9382 | -38.5752 | 1799.99 | 0.91 | 0.033998 | 0.022002 | 0.033998 | 25 | 33528.2 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.3347 | -0.029907 | 0.009791 | 1 | -294.8897 | 0.26548 | 0.055813 | -1 | 29.9325 | -0.027017 | 0.002863 | -1 | 0.48451 | -0.003242 | 0.00055013 | 1 | 2 | 2 | 2/2 | 2.6696 | 2.7153 | 0.092993 | 0.13532 | 0.13367 | 0.0018513 | 33082.1 | 27796 | 31136 | 28010.1 | 36598 | 39731.7 | 44301.9 | 42420.2 | 1.6937 | 1.8928 | 0.18129 | 0.16144 | 25.0384 | 25.0931 | 22.8 | 26.2 | 7.8661 | 61.315 | 41.9671 | 1 | -0.13099 | -0.65671 | 20.1887 | 5.2412 | 12.0399 | 5.0169 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8693 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.376 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 11.3 | 34.7 | 1.6186 | 2.561 | 1.5491 | 2.3413 | 1.5015 | 2.2998 | 31.3026 | 23.9824 | 19 | 384.56 | 469.443 | 26.1703 | 25.7794 | 30.0001 | 25.8772 | 25.8575 | 32.3576 | 100 | 15.1048 | 26.1752 | 715 | 0 | 99.6118 | 99.2667
6 | 1691155815 | 900 | 20230804 08:30:15 | 08:30:15 | none | C3 plant | 1 | mickey | 1691155815 | 0.0034756 | 3.4756 | 31.5708 | 421.133 | 295.907 | 29.3123 | 41.7171 | 0.4667 | 1.9472 | 0.41233 | 0.26206 | 276.1146 | 27.8143 | 28.0096 | 3.797 | 84.7395 | 2.9906 | 3.5291 | 0.80639 | -153.2745 | -131.1141 | -14.588 | -22.862 | 0 | 0 | 1 | 0 | 52494.1936 | 1800 | 1499.1153 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155815 | 421.133 | 714.972 | 30.1898 | 0.20784 | 421.509 | 30.0468 | 400.116 | 98.9593 | 0.099914 | 26.7606 | 28.0096 | 27.7371 | 0 | 0 | 10025 | 1085.56 | 0.89706 | -293.84 | 434.242 | 715.121 | 29.982 | 714.972 | 0.20784 | 2.9876 | 0.020567 | 23.9588 | -39.1558 | 1800 | 0.91002 | 0.033991 | 0.021997 | 0.033991 | 25.6667 | 33528.6 | 1691154955.5 | 08:15:55 | 1691154955.5 | 1691153555.6 | 2 | 0.696 | -0.018 | -0.585 | 0.041 | 715 | 16 | 0.01 | 0.02 | 31.225 | -0.050436 | 0.011084 | 1 | -293.9267 | 0.5418 | 0.088751 | -1 | 29.969 | 0.066332 | 0.0066111 | -1 | 0.48676 | 0.0017648 | 0.00072712 | 1 | 2 | 2 | 2/2 | 2.6697 | 2.7152 | 0.093155 | 0.1353 | 0.13377 | 0.0017449 | 33075.8 | 27797.7 | 31135.7 | 28011.1 | 36593.5 | 39738.3 | 44301.7 | 42422.8 | 1.6933 | 1.8918 | 0.17884 | 0.15958 | 25.0826 | 25.1249 | 19.8 | 26.4 | 6.9125 | 61.7049 | 41.4904 | 1 | -0.12847 | -0.65956 | 20.1887 | 5.2423 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8634 | 1.8643 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.376 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 14.3 | 37.7 | 1.6199 | 2.5659 | 1.5491 | 2.3425 | 1.5015 | 2.3303 | 31.4333 | 23.9824 | 19 | 384.514 | 468.957 | 26.0922 | 25.8099 | 30.0001 | 25.9011 | 25.8802 | 29.1973 | 100 | 9.0492 | 26.0973 | 715 | 0 | 99.6113 | 99.2717
7 | 1691155995 | 1080 | 20230804 08:33:15 | 08:33:15 | none | C3 plant | 1 | mickey | 1691155995 | 0.0034706 | 3.4706 | 20.1129 | 262.873 | 182.7755 | 18.1065 | 26.0412 | 0.46418 | 1.9452 | 0.41031 | 0.26076 | 276.1141 | 27.7657 | 27.9962 | 3.794 | 84.8307 | 2.9847 | 3.5185 | 0.80926 | -153.0532 | -134.9809 | -15.0281 | -26.9481 | 0 | 0 | 1 | 0 | 52405.1671 | 1800 | 1499.1094 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691155995 | 262.873 | 449.911 | 30.1294 | 0.18556 | 263.205 | 29.9864 | 400.072 | 98.9638 | 0.10007 | 26.7091 | 27.9962 | 27.7393 | 0 | 0 | 10005 | 1084.4 | 1.1213 | -186.971 | 271.108 | 449.994 | 29.9439 | 449.911 | 0.18556 | 2.9817 | 0.018364 | 23.9262 | -40.2443 | 1800 | 0.91 | 0.034001 | 0.02199 | 0.034011 | 26 | 33528.5 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.8757 | 0.018741 | 0.0054382 | 1 | -186.9674 | -0.17559 | 0.03278 | -1 | 29.9142 | 0.13466 | 0.013653 | -1 | 0.48478 | 0.0057334 | 0.0014394 | 1 | 2 | 2 | 2/2 | 2.6695 | 2.7153 | 0.064047 | 0.097254 | 0.13359 | 0.0015599 | 34137.8 | 29020.7 | 31136.1 | 28011.6 | 36599.1 | 39743.3 | 44302.3 | 42424.3 | 1.6935 | 1.8897 | 0.17767 | 0.15946 | 25.0883 | 25.1291 | 17.8 | 26.6 | 6.2876 | 61.2849 | 42.2115 | 1 | -0.12565 | -0.52727 | 20.1892 | 5.2416 | 12.0399 | 5.0171 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8644 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.332 | 0.143 | -0.092821 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 17.3 | 40.7 | 1.1145 | 2.5549 | 1.5491 | 2.3425 | 1.5002 | 2.356 | 31.5424 | 23.9912 | 19 | 384.828 | 467.771 | 25.8681 | 25.8447 | 30.0001 | 25.9328 | 25.9114 | 22.2707 | 100 | 4.5388 | 25.8838 | 450 | 0 | 99.6126 | 99.2745
8 | 1691156175.1 | 1260.1 | 20230804 08:36:15 | 08:36:15 | none | C3 plant | 1 | mickey | 1691156175.1 | 0.003449 | 3.449 | 20.139 | 262.72 | 181.1386 | 17.9431 | 26.0243 | 0.45523 | 1.9464 | 0.40331 | 0.25624 | 276.118 | 27.7396 | 27.9558 | 3.7851 | 84.4904 | 2.9669 | 3.5115 | 0.81822 | -152.0988 | -134.3688 | -14.9455 | -25.2951 | 0 | 0 | 1 | 0 | 52470.4167 | 1800.01 | 1499.1205 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691156175.1 | 262.72 | 449.973 | 29.9509 | 0.18236 | 262.92 | 29.8079 | 399.992 | 98.9573 | 0.099917 | 26.6753 | 27.9558 | 27.7131 | 0 | 0 | 10017.5 | 1082.84 | 1.1802 | -187.253 | 270.832 | 450.055 | 29.7685 | 449.973 | 0.18236 | 2.9639 | 0.018046 | 23.8263 | -40.411 | 1800.01 | 0.90999 | 0.033996 | 0.022008 | 0.034007 | 26 | 33528.4 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.9189 | -0.0067707 | 0.0040268 | 1 | -187.2868 | 0.20562 | 0.025021 | -1 | 29.8003 | -0.16393 | 0.015812 | -1 | 0.48324 | -0.018277 | 0.0027002 | 1 | 2 | 2 | 2/2 | 2.6693 | 2.7152 | 0.063981 | 0.097254 | 0.13303 | 0.0015331 | 34142.2 | 29024.7 | 31138 | 28015.5 | 36625.4 | 39750.6 | 44305.2 | 42430.9 | 1.6931 | 1.8889 | 0.18006 | 0.16221 | 25.0086 | 25.0576 | 16.6 | 26.7 | 5.8982 | 61.4404 | 42.1955 | 1 | -0.12558 | -0.8499 | 20.1879 | 5.2412 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.2 | 0.143 | -0.027844 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 2.4 | 43.7 | 1.1157 | 2.5574 | 1.5491 | 2.3413 | 1.5015 | 2.3377 | 31.477 | 23.9912 | 19 | 384.72 | 467.372 | 26.1038 | 25.8565 | 29.9999 | 25.9489 | 25.9265 | 22.2814 | 100 | 2.0703 | 26.1289 | 450 | 0 | 99.6189 | 99.2894
9 | 1691156355.1 | 1440.1 | 20230804 08:39:15 | 08:39:15 | none | C3 plant | 1 | mickey | 1691156355.1 | 0.0034452 | 3.4452 | 20.157 | 262.633 | 179.618 | 17.7928 | 26.0162 | 0.44688 | 1.9457 | 0.39672 | 0.25199 | 276.1145 | 27.8024 | 27.9927 | 3.7932 | 84.0576 | 2.9623 | 3.5241 | 0.83092 | -151.9352 | -131.7702 | -14.6691 | -22.26 | 0 | 0 | 1 | 0 | 52422.8926 | 1800 | 1499.1083 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691156355.1 | 262.633 | 449.993 | 29.9045 | 0.1731 | 262.833 | 29.7615 | 400.08 | 98.9589 | 0.10006 | 26.7365 | 27.9927 | 27.7695 | 0 | 0 | 10010 | 1084.54 | 287.63 | -187.36 | 270.729 | 450.071 | 29.7314 | 449.993 | 0.1731 | 2.9593 | 0.017129 | 23.8008 | -40.9069 | 1800 | 0.90999 | 0.034004 | 0.021992 | 0.034014 | 26 | 33528.5 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.9308 | 0.014489 | 0.0054715 | 1 | -187.3911 | -0.17923 | 0.035815 | -1 | 29.7365 | -0.013286 | 0.0018643 | -1 | 0.46529 | -0.0044129 | 0.0007274 | 1 | 2 | 2 | 2/2 | 2.6696 | 2.7153 | 0.063975 | 0.097272 | 0.13291 | 0.0014563 | 34150.7 | 29033.4 | 31145.3 | 28024.1 | 36639.6 | 39766.5 | 44316.5 | 42444.5 | 1.694 | 1.8892 | 0.18191 | 0.16536 | 25.0152 | 25.0626 | 15.8 | 26.8 | 5.6473 | 61.5904 | 42.1955 | 1 | -0.13287 | -0.74826 | 20.1888 | 5.2411 | 12.0399 | 5.0175 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8693 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.2 | 0.143 | -0.027844 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 5.4 | 46.7 | 1.1157 | 2.5623 | 1.5491 | 2.3413 | 1.5015 | 2.3462 | 31.3026 | 23.9824 | 19 | 384.832 | 467.144 | 26.1655 | 25.7729 | 30 | 25.8902 | 25.8747 | 22.2891 | 100 | 0 | 26.1677 | 450 | 0 | 99.6434 | 99.3206
10 | 1691156535.1 | 1620.1 | 20230804 08:42:15 | 08:42:15 | none | C3 plant | 1 | mickey | 1691156535.1 | 0.0035772 | 3.5772 | 20.1623 | 262.271 | 191.7498 | 18.9974 | 25.9842 | 0.53784 | 1.9461 | 0.46693 | 0.29742 | 276.1141 | 27.7755 | 28.0445 | 3.8047 | 87.0519 | 3.072 | 3.529 | 0.73267 | -157.7536 | -134.7976 | -15.0087 | -31.4457 | 0 | 0 | 1 | 0 | 52439.3886 | 1800 | 1499.1116 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691156535.1 | 262.271 | 450.002 | 31.0074 | 0.16805 | 262.471 | 30.8644 | 400.022 | 98.974 | 0.099896 | 26.7597 | 28.0445 | 27.7728 | 0 | 0 | 10012.5 | 1079.5 | 560.182 | -187.731 | 270.664 | 450.078 | 30.8394 | 450.002 | 0.16805 | 3.0689 | 0.016633 | 24.4067 | -41.1856 | 1800 | 0.91 | 0.033991 | 0.021992 | 0.034013 | 26 | 33528.5 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.9349 | 0.0088424 | 0.0065221 | 1 | -187.7071 | -0.26323 | 0.050829 | -1 | 30.77 | 0.44055 | 0.042475 | -1 | 0.56605 | 0.055952 | 0.0082216 | 1 | 2 | 2 | 2/2 | 2.6694 | 2.7152 | 0.063909 | 0.097282 | 0.13626 | 0.0014145 | 34147.8 | 29030 | 31140.7 | 28021.3 | 36490.3 | 39764.3 | 44309.3 | 42440.5 | 1.6938 | 1.8892 | 0.16677 | 0.14437 | 25.3157 | 25.4102 | 15.2 | 26.9 | 5.4654 | 61.5004 | 41.903 | 1 | -0.12713 | 0.056743 | 20.1904 | 5.2426 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8688 | 1.8645 | 1.8691 | 1.8672 | 1.8633 | 1.8643 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.2 | 0.143 | -0.027844 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 8.4 | 49.7 | 1.1157 | 2.5574 | 1.5491 | 2.3413 | 1.5015 | 2.3584 | 31.2374 | 23.9912 | 19 | 384.944 | 467.371 | 25.4356 | 25.8323 | 30.0007 | 25.9279 | 25.8998 | 22.2981 | 100 | 0 | 25.4017 | 450 | 0 | 99.6279 | 99.3111
11 | 1691156715.1 | 1800.1 | 20230804 08:45:15 | 08:45:15 | none | C3 plant | 1 | mickey | 1691156715.1 | 0.0036791 | 3.6791 | 20.1625 | 262.112 | 199.2717 | 19.7458 | 25.9726 | 0.61447 | 1.9461 | 0.52373 | 0.33436 | 276.1163 | 27.8062 | 28.1478 | 3.8277 | 89.0702 | 3.1561 | 3.5434 | 0.67156 | -162.2479 | -138.3563 | -15.418 | -39.9058 | 0 | 0 | 1 | 0 | 52429.0392 | 1800 | 1499.1139 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691156715.1 | 262.112 | 450.046 | 31.851 | 0.16606 | 262.312 | 31.708 | 400.09 | 98.9897 | 0.099936 | 26.8291 | 28.1478 | 27.8619 | 0 | 0 | 10011.2 | 1074.35 | 529.553 | -187.935 | 270.735 | 450.121 | 31.6849 | 450.046 | 0.16606 | 3.1529 | 0.016438 | 24.8583 | -41.2969 | 1800 | 0.91 | 0.033995 | 0.022007 | 0.034003 | 27 | 33528.2 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.935 | -0.022699 | 0.0066279 | 1 | -187.909 | 0.23074 | 0.053753 | -1 | 31.6183 | 0.43309 | 0.042896 | -1 | 0.68034 | 0.043447 | 0.006371 | 1 | 2 | 2 | 2/2 | 2.6691 | 2.7152 | 0.063828 | 0.097222 | 0.13869 | 0.0013965 | 34117 | 28998.9 | 31111.5 | 27991 | 36351.3 | 39723.7 | 44264.9 | 42397.2 | 1.6907 | 1.8832 | 0.14804 | 0.12919 | 25.7264 | 25.7486 | 14.6 | 27 | 5.2794 | 61.4404 | 41.6587 | 1 | -0.082541 | 0.099943 | 20.1887 | 5.2411 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8689 | 1.8645 | 1.8691 | 1.8672 | 1.8634 | 1.8644 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.2 | 0.143 | -0.027844 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 11.4 | 52.7 | 1.1157 | 2.5562 | 1.5491 | 2.3413 | 1.5015 | 2.3572 | 31.5206 | 23.9912 | 19 | 385.565 | 466.256 | 25.3585 | 26.2966 | 30.0014 | 26.277 | 26.238 | 22.3056 | 100 | 0 | 25.3565 | 450 | 0 | 99.5306 | 99.2073
12 | 1691156895.1 | 1980.1 | 20230804 08:48:15 | 08:48:15 | none | C3 plant | 1 | mickey | 1691156895.1 | 0.0038141 | 3.8141 | 20.1208 | 262.176 | 204.1826 | 20.2291 | 25.9747 | 0.6742 | 1.9434 | 0.56648 | 0.36229 | 276.1136 | 28.1271 | 28.5129 | 3.9098 | 90.2096 | 3.2669 | 3.6215 | 0.64289 | -168.1997 | -137.5335 | -15.4043 | -45.0239 | 0 | 0 | 1 | 0 | 52224.174 | 1799.98 | 1499.0939 | 0.83284 | 0.1534 | 35.59 | 0.5 | 0: Broadleaf | 2 | 1691156895.1 | 262.176 | 450.055 | 32.9746 | 0.16555 | 262.376 | 32.8316 | 400.091 | 98.9734 | 0.099992 | 27.2002 | 28.5129 | 28.2258 | 0 | 0 | 9985 | 1068.05 | 593.143 | -187.879 | 271.116 | 450.13 | 32.8091 | 450.055 | 0.16555 | 3.2636 | 0.016385 | 25.4377 | -41.3275 | 1799.98 | 0.90998 | 0.034008 | 0.022008 | 0.034003 | 28 | 33527.9 | 1691156032 | 08:33:52 | 1691156032 | 1691153555.6 | 3 | 0.065 | -0.018 | -0.332 | 0.041 | 450 | 16 | 0.01 | 0.02 | 19.8965 | -0.037584 | 0.0076366 | 1 | -187.8601 | -0.042675 | 0.026786 | -1 | 32.7468 | 0.35971 | 0.034737 | -1 | 0.77866 | 0.031805 | 0.0049728 | 1 | 2 | 2 | 2/2 | 2.6684 | 2.7153 | 0.063733 | 0.097072 | 0.1418 | 0.0013895 | 34077.6 | 28961.8 | 31074.8 | 27952.7 | 36175.1 | 39671.3 | 44208.8 | 42342.1 | 1.6851 | 1.874 | 0.14988 | 0.13259 | 26.063 | 26.0579 | 14.1 | 27.2 | 5.1597 | 61.4404 | 41.0457 | 1 | -0.024329 | 0.046304 | 20.1874 | 5.2404 | 12.0399 | 5.0172 | 3.288 | 9999 | 9999 | 9999 | 999.9 | 1.8689 | 1.8646 | 1.8692 | 1.8672 | 1.8634 | 1.8644 | 1.8701 | 1.8694 | 0 | 0 | 0 | 0 | 00000000 | iiiiiiii | off | off | off | off | 0 | 100 | 100 | -0.2 | 0.143 | -0.027844 | -0.00061462 | -1.8862e-07 | 1.198e-10 | 0.14301 | 0 | 0 | 0 | 3 | 2158 | 1 | 19 | 14.4 | 55.7 | 1.1157 | 2.5659 | 1.5491 | 2.3413 | 1.5015 | 2.3743 | 32.0464 | 23.9912 | 19 | 386.283 | 464.928 | 25.931 | 26.9549 | 30.0017 | 26.8532 | 26.7986 | 22.3041 | 100 | 0 | 25.9415 | 450 | 0 | 99.4081 | 99.0756

## Remarks
File opened | 2023-08-04 07:54:01
Console s/n | 68C-571076
Console ver | Bluestem v.2.1.08
Scripts ver | 2022.05 2.1.08, Aug 2022
Head s/n | 68H-581076
Head ver | 1.4.22
Head cal | {"oxygen": "21", "co2azero": "0.850833", "co2aspan1": "1.00272", "co2aspan2": "-0.03976", "co2aspan2a": "0.284984", "co2aspan2b": "0.282529", "co2aspanconc1": "2473", "co2aspanconc2": "301.4", "co2bzero": "0.868439", "co2bspan1": "1.00227", "co2bspan2": "-0.0386207", "co2bspan2a": "0.284833", "co2bspan2b": "0.282347", "co2bspanconc1": "2473", "co2bspanconc2": "301.4", "h2oazero": "1.04701", "h2oaspan1": "0.996202", "h2oaspan2": "0", "h2oaspan2a": "0.066505", "h2oaspan2b": "0.0662524", "h2oaspanconc1": "11.63", "h2oaspanconc2": "0", "h2obzero": "1.06461", "h2obspan1": "0.99351", "h2obspan2": "0", "h2obspan2a": "0.0653957", "h2obspan2b": "0.0649713", "h2obspanconc1": "11.63", "h2obspanconc2": "0", "tazero": "0.121614", "tbzero": "0.233824", "flowmeterzero": "0.996312", "flowazero": "0.28101", "flowbzero": "0.31827", "chamberpressurezero": "2.60495", "ssa_ref": "37865.9", "ssb_ref": "35475.3"}
CO2 rangematch | Wed Mar 8 15:59
H2O rangematch | Wed Mar 8 16:05
Chamber type | 6800-13
Chamber s/n | CHM-10960
Chamber rev | 0
Chamber cal | 8.12
HeadLS type | 6800-03
HeadLS s/n | 181040
HeadLS f | 0.065 0.0828 0.1212 0.0686
HeadLS u0 | 278 337 932 412
07:54:01 | Stability Definition: ΔCO2 (Meas2): Per=20 ΔH2O (Meas2): Per=20 A (GasEx): Slp<1 Std<0.2 Per=30 gsw (GasEx): Slp<0.2 Std<0.02 Per=30